## Sheet1
Date | Amount
2023-01-01 | 45
2023-01-02 | 56

## Sheet2
|  | SCADA System |  | Driver | Channel | PLC | Scan Group | PLC Description | PLC Template | PLC Host Object | PLC Address | Remote Response Server
|  | MAINEAOS1 |  | ICONICS.IconicsOPCUAServer.V5 | MaineLSS | PLCW133 | 4000ms | PLC | Modbus | ModbusNetwork | 192.168.1.34
[18 empty] | Analog Definition | [16 empty] | Discrete Definition
ID | I/O Type | Instrument Tagname |  | Description | Maximo Location | Physical Location | PLC MW Address | Internal Address | New. PLC | I/O Address | Input Range/Type | Hist. Enable | Paging Enable | Alarm Enable | Area | Container | Contained Name | Lo EGU | Hi EGU | Ext. EGU Min | Ext. EGU Max | Raw Min | Raw Max | EGU | Alm LoLo | LoLo Priority | Alm Lo | Lo Priority | Alm Hi | Hi Priority | Alm HiHi | HiHi Priority | Deadband | Delay | Dig Stat 0 | Dig Stat 1 | Alm Type | Alm Priority | Alm Inhibit | Enable Output | Comments | Install | Signal | PLC | SCADA | Function
| AI_Limits_03 | FAF1_BFDP_W133 |  | B10PS FAF1 Supply Fan Total Filter DP | [19 empty] | PSID |  |  |  |  | 0.75 |  | 0.6 |  | 0 | 1:00
| BOOL | FAF1_BFDP_W133.BTA | FAF1_BFDP | B10PS FAF1 Supply Fan Total Filter DP BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412621:1
| BOOL | FAF1_BFDP_W133.IsDS | FAF1_BFDP_W133_IsDS | B10PS FAF1 Supply Fan Total Filter DP Alarm Disabled | [5 empty] | ---
| REAL | FAF1_BFDP_W133.PV | FAF1_BFDP_W133_PV | B10PS FAF1 Supply Fan Total Filter DP PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412629 F
| REAL | FAF1_BFDP_W133.PV_H_Alm | FAF1_BFDP_W133_PV_H_Alm | B10PS FAF1 Supply Fan Total Filter DP PV Hi | [5 empty] | ---
| REAL | FAF1_BFDP_W133.PV_HH_Alm | FAF1_BFDP_W133_PV_HH_Alm | B10PS FAF1 Supply Fan Total Filter DP PV HiHi | [5 empty] | ---
| REAL | FAF1_BFDP_W133.PV_L_Alm | FAF1_BFDP_W133_PV_L_Alm | B10PS FAF1 Supply Fan Total Filter DP PV Lo | [5 empty] | ---
| REAL | FAF1_BFDP_W133.PV_LL_Alm | FAF1_BFDP_W133_PV_LL_Alm | B10PS FAF1 Supply Fan Total Filter DP PV LoLo | [5 empty] | ---
| BOOL | FAF1_BFDP_W133.Reset | FAF1_BFDP_W133_Reset | B10PS FAF1 Supply Fan Total Filter DP BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412627:9
| AI_Limits_03 | FAF1_BP_W133 |  | B10PS FAF1 Building Pressure
| BOOL | FAF1_BP_W133.BTA |  | B10PS FAF1 Building Pressure BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412909:1
| BOOL | FAF1_BP_W133.IsDS |  | B10PS FAF1 Building Pressure Alarm Disabled | [5 empty] | ---
| REAL | FAF1_BP_W133.PV |  | B10PS FAF1 Building Pressure PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412907 F
| REAL | FAF1_BP_W133.PV_H_Alm |  | B10PS FAF1 Building Pressure PV Hi | [5 empty] | ---
| REAL | FAF1_BP_W133.PV_HH_Alm |  | B10PS FAF1 Building Pressure PV HiHi | [5 empty] | ---
| REAL | FAF1_BP_W133.PV_L_Alm |  | B10PS FAF1 Building Pressure PV Lo | [5 empty] | ---
| REAL | FAF1_BP_W133.PV_LL_Alm |  | B10PS FAF1 Building Pressure PV LoLo | [5 empty] | ---
| BOOL | FAF1_BP_W133.Reset |  | B10PS FAF1 Building Pressure BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412905:9
| AI_Limits_03 | FAF1_CCDTT_W133 |  | B10PS FAF1 Cooling Coil Discharge Temperature
| BOOL | FAF1_CCDTT_W133.BTA |  | B10PS FAF1 Cooling Coil Discharge Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412559:1
| BOOL | FAF1_CCDTT_W133.IsDS |  | B10PS FAF1 Cooling Coil Discharge Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_CCDTT_W133.PV |  | B10PS FAF1 Cooling Coil Discharge Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412557 F
| REAL | FAF1_CCDTT_W133.PV_H_Alm |  | B10PS FAF1 Cooling Coil Discharge Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_CCDTT_W133.PV_HH_Alm |  | B10PS FAF1 Cooling Coil Discharge Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_CCDTT_W133.PV_L_Alm |  | B10PS FAF1 Cooling Coil Discharge Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_CCDTT_W133.PV_LL_Alm |  | B10PS FAF1 Cooling Coil Discharge Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_CCDTT_W133.Reset |  | B10PS FAF1 Cooling Coil Discharge Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412555:9
| Wago_VFD_00 | FAF1_CHWPMP_W133 |  | FAF1 CHW Pump
| BOOL | FAF1_CHWPMP_W133.AUX |  | FAF1 CHW Pump Run Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:9
| REAL | FAF1_CHWPMP_W133.CMD |  | FAF1 CHW Pump Speed CMD | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412955 F
| BOOL | FAF1_CHWPMP_W133.FLT |  | FAF1 CHW Pump Fault | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:16
| BOOL | FAF1_CHWPMP_W133.FTR |  | FAF1 CHW Pump Fail to Run | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:12
| BOOL | FAF1_CHWPMP_W133.FTS |  | FAF1 CHW Pump Fail to Stop | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:14
| BOOL | FAF1_CHWPMP_W133.MAN |  | FAF1 CHW Pump In Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:15
| REAL | FAF1_CHWPMP_W133.MAN_SPD_CMD |  | FAF1 CHW Pump Speed SP | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412955 F
| BOOL | FAF1_CHWPMP_W133.NIA |  | FAF1 CHW Pump Not in Auto | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:15
| BOOL | FAF1_CHWPMP_W133.OFF_CMD |  | FAF1 CHW Pump Off Command | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:11
| BOOL | FAF1_CHWPMP_W133.ON_CMD |  | FAF1 CHW Pump On Command | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:10
| REAL | FAF1_CHWPMP_W133.PWR |  | FAF1 CHW Pump Power Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412951 F
| BOOL | FAF1_CHWPMP_W133.PWR_BTA |  | FAF1 CHW Pump Power Feedback BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412953:1
| BOOL | FAF1_CHWPMP_W133.PWR_BTA_RST |  | FAF1 CHW Pump Power Feedback BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412949:9
| REAL | FAF1_CHWPMP_W133.SPD |  | FAF1 CHW Pump Speed Feeback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412939 F
| BOOL | FAF1_CHWPMP_W133.SPD_BTA |  | FAF1 CHW Pump Speed Feeback BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412941:1
| BOOL | FAF1_CHWPMP_W133.SPD_BTA_RST |  | FAF1 CHW Pump Speed Feeback BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412937:9
| Wago_VVD | FAF1_CHWPMPBV_W133 |  | B10PS FAF1 CHW Pump Bypass Valve
| BOOL | FAF1_CHWPMPBV_W133.MAN |  | B10PS FAF1 CHW Pump Bypass Valve In Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412663:1
| REAL | FAF1_CHWPMPBV_W133.OUT |  | B10PS FAF1 CHW Pump Bypass Valve Control Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412659 F
| REAL | FAF1_CHWPMPBV_W133.PercentOpen |  | Contrl Value | [5 empty] | ---
| AI_Limits_03 | FAF1_CHWRTT_W133 |  | B10PS FAF1 Chillwater Coil Return Temperature
| BOOL | FAF1_CHWRTT_W133.BTA |  | B10PS FAF1 Chillwater Coil Return Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412535:1
| BOOL | FAF1_CHWRTT_W133.IsDS |  | B10PS FAF1 Chillwater Coil Return Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_CHWRTT_W133.PV |  | B10PS FAF1 Chillwater Coil Return Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412533 F
| REAL | FAF1_CHWRTT_W133.PV_H_Alm |  | B10PS FAF1 Chillwater Coil Return Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_CHWRTT_W133.PV_HH_Alm |  | B10PS FAF1 Chillwater Coil Return Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_CHWRTT_W133.PV_L_Alm |  | B10PS FAF1 Chillwater Coil Return Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_CHWRTT_W133.PV_LL_Alm |  | B10PS FAF1 Chillwater Coil Return Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_CHWRTT_W133.Reset |  | B10PS FAF1 Chillwater Coil Return Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412531:9
| AI_Limits_03 | FAF1_CHWSTT_W133 |  | B10PS FAF1 Chillwater Coil Supply Temperature
| BOOL | FAF1_CHWSTT_W133.BTA |  | B10PS FAF1 Chillwater Coil Supply Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412547:1
| BOOL | FAF1_CHWSTT_W133.IsDS |  | B10PS FAF1 Chillwater Coil Supply Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_CHWSTT_W133.PV |  | B10PS FAF1 Chillwater Coil Supply Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412545 F
| REAL | FAF1_CHWSTT_W133.PV_H_Alm |  | B10PS FAF1 Chillwater Coil Supply Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_CHWSTT_W133.PV_HH_Alm |  | B10PS FAF1 Chillwater Coil Supply Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_CHWSTT_W133.PV_L_Alm |  | B10PS FAF1 Chillwater Coil Supply Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_CHWSTT_W133.PV_LL_Alm |  | B10PS FAF1 Chillwater Coil Supply Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_CHWSTT_W133.Reset |  | B10PS FAF1 Chillwater Coil Supply Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412543:9
| Wago_VVD | FAF1_CHWTCV_W133 |  | B10PS FAF1 CHW Valve
| BOOL | FAF1_CHWTCV_W133.In Man |  | B10PS FAF1 CHW Valve Manual | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412673:1
| REAL | FAF1_CHWTCV_W133.OUT |  | B10PS FAF1 CHW Valve Control Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412669 F
| REAL | FAF1_CHWTCV_W133.PercentOpen |  | Contrl Value
| Wago_Loop | FAF1_COIL_PROTECT_W133 |  | B10PS FAF1 Coil Protection Loop
| BOOL | FAF1_COIL_PROTECT_W133.CA |  | B10PS FAF1 Coil Protection Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412748:9
| BOOL | FAF1_COIL_PROTECT_W133.CL |  | B10PS FAF1 Coil Protection Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412748:1
| REAL | FAF1_COIL_PROTECT_W133.CL_SP |  | B10PS FAF1 Coil Protection Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412745 F
| REAL | FAF1_COIL_PROTECT_W133.KD |  | B10PS FAF1 Coil Protection Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412743 F
| REAL | FAF1_COIL_PROTECT_W133.KI |  | B10PS FAF1 Coil Protection Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412741 F
| REAL | FAF1_COIL_PROTECT_W133.KP |  | B10PS FAF1 Coil Protection Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412739 F
| BOOL | FAF1_COIL_PROTECT_W133.MO |  | B10PS FAF1 Coil Protection Loop Auto/Man Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412747:1
| REAL | FAF1_COIL_PROTECT_W133.OUT |  | B10PS FAF1 Coil Protection Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412733 F
| REAL | FAF1_COIL_PROTECT_W133.PV |  | B10PS FAF1 Coil Protection Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412729 F
| REAL | FAF1_COIL_PROTECT_W133.SO |  | B10PS FAF1 Coil Protection Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412737 F
| REAL | FAF1_COIL_PROTECT_W133.SP |  | B10PS FAF1 Coil Protection Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412731 F
| BOOL | FAF1_COIL_PROTECT_W133.SWM |  | B10PS FAF1 Coil Protection Loop Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412747:9
| REAL | FAF1_COIL_PROTECT_W133.TIE |  | B10PS FAF1 Coil Protection Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412735 F
| Wago_Loop | FAF1_COOLING_W133 |  | B10PS FAF1 Cooling Loop
| BOOL | FAF1_COOLING_W133.CA |  | B10PS FAF1 Cooling Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412768:9
| BOOL | FAF1_COOLING_W133.CL |  | B10PS FAF1 Cooling Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412768:1
| REAL | FAF1_COOLING_W133.CL_SP |  | B10PS FAF1 Cooling Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412765 F
| REAL | FAF1_COOLING_W133.KD |  | B10PS FAF1 Cooling Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412763 F
| REAL | FAF1_COOLING_W133.KI |  | B10PS FAF1 Cooling Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412761 F
| REAL | FAF1_COOLING_W133.KP |  | B10PS FAF1 Cooling Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412759 F
| BOOL | FAF1_COOLING_W133.MO |  | B10PS FAF1 Cooling Loop Auto/Man Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412767:1
| REAL | FAF1_COOLING_W133.OUT |  | B10PS FAF1 Cooling Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412753 F
| REAL | FAF1_COOLING_W133.PV |  | B10PS FAF1 Cooling Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412749 F
| REAL | FAF1_COOLING_W133.SO |  | B10PS FAF1 Cooling Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412757 F
| REAL | FAF1_COOLING_W133.SP |  | B10PS FAF1 Cooling Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412751 F
| BOOL | FAF1_COOLING_W133.SWM |  | B10PS FAF1 Cooling Loop Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412767:9
| REAL | FAF1_COOLING_W133.TIE |  | B10PS FAF1 Cooling Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412755 F
| Wago_Damper | FAF1_DAMPER_W133 |  | B10PS FAF1 Damper
| BOOL | FAF1_DAMPER_W133.ALM_RESET |  | B10PS FAF1 Damper Alarm Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:9
| BOOL | FAF1_DAMPER_W133.CLSD_CMD |  | B10PS FAF1 Damper Commanded to Close | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:6
| BOOL | FAF1_DAMPER_W133.FTC |  | B10PS FAF1 Damper Failed to Close | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:5
| BOOL | FAF1_DAMPER_W133.FTO |  | B10PS FAF1 Damper Failed to Open | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:4
| BOOL | FAF1_DAMPER_W133.OPEN_CMD |  | B10PS FAF1 Damper Commanded to Open | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:8
| BOOL | FAF1_DAMPER_W133.ZSC |  | B10PS FAF1 Damper Position Status Fully Closed | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:1
| BOOL | FAF1_DAMPER_W133.ZSO |  | B10PS FAF1 Damper Position Status Fully Open | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412413:2
| Wago_Loop | FAF1_DEHUM_W133 |  | B10PS FAF1 Dehumidification Loop
| BOOL | FAF1_DEHUM_W133.CA |  | B10PS FAF1 Dehumidification Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412788:9
| BOOL | FAF1_DEHUM_W133.CL |  | B10PS FAF1 Dehumidification Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412788:1
| REAL | FAF1_DEHUM_W133.CL_SP |  | B10PS FAF1 Dehumidification Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412785 F
| REAL | FAF1_DEHUM_W133.KD |  | B10PS FAF1 Dehumidification Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412783 F
| REAL | FAF1_DEHUM_W133.KI |  | B10PS FAF1 Dehumidification Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412781 F
| REAL | FAF1_DEHUM_W133.KP |  | B10PS FAF1 Dehumidification Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412779 F
| BOOL | FAF1_DEHUM_W133.MO |  | B10PS FAF1 Dehumidification Loop Auto/Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412787:1
| REAL | FAF1_DEHUM_W133.OUT |  | B10PS FAF1 Dehumidification Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412773 F
| REAL | FAF1_DEHUM_W133.PV |  | B10PS FAF1 Dehumidification Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412769 F
| REAL | FAF1_DEHUM_W133.SO |  | B10PS FAF1 Dehumidification Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412777 F
| REAL | FAF1_DEHUM_W133.SP |  | B10PS FAF1 Dehumidification Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412771 F
| BOOL | FAF1_DEHUM_W133.SWM |  | B10PS FAF1 Dehumidification Loop Software Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412787:9
| REAL | FAF1_DEHUM_W133.TIE |  | B10PS FAF1 Dehumidification Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412775 F
| Wago_VFD_01 | FAF1_FAN1_W133 |  | B10PS FAF1 Fan
| BOOL | FAF1_FAN1_W133.AUTO |  | B10PS FAF1 Fan VFD Auto | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412416:1
| BOOL | FAF1_FAN1_W133.AUX |  | B10PS FAF1 Fan VFD Running | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:8
| REAL | FAF1_FAN1_W133.CMD |  | B10PS FAF1 Fan VFD Cmd | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412913 F
| BOOL | FAF1_FAN1_W133.CMD_MAN |  | B10PS FAF1 Fan VFD Manual Cmd | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412917:1
| REAL | FAF1_FAN1_W133.CMD_OFFSET |  | B10PS FAF1 Fan VFD Speed Command Offset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412923 F
| BOOL | FAF1_FAN1_W133.ECALL |  | B10PS FAF1 Fan VFD Ecall | [5 empty] | ---
| BOOL | FAF1_FAN1_W133.FLT |  | B10PS FAF1 Fan VFD Fault | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:12
| BOOL | FAF1_FAN1_W133.FTR |  | B10PS FAF1 Fan VFD Fail to Run | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:9
| BOOL | FAF1_FAN1_W133.FTS |  | B10PS FAF1 Fan VFD Fail to Stop | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:10
| REAL | FAF1_FAN1_W133.HZ |  | B10PS FAF1 Fan VFD Hertz Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412859 F
| BOOL | FAF1_FAN1_W133.MAN |  | B10PS FAF1 Fan VFD In Manual | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412416:7
| REAL | FAF1_FAN1_W133.MAN_VAL |  | B10PS FAF1 Fan VFD Manual Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412911 F
| BOOL | FAF1_FAN1_W133.MIS |  | B10PS FAF1 Fan VFD Speed Mismatch | [5 empty] | ---
| BOOL | FAF1_FAN1_W133.NIA |  | B10PS FAF1 Fan VFD Not in Auto | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:11
| REAL | FAF1_FAN1_W133.PWR |  | B10PS FAF1 Fan VFD Power Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412871 F
| BOOL | FAF1_FAN1_W133.PWR_BTA |  | B10PS FAF1 Fan VFD Power Feedback Broken Transmitter Alarm | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412873:1
| BOOL | FAF1_FAN1_W133.PWR_BTA_RST |  | B10PS FAF1 Fan VFD Power Feedback Broken Transmitter Alarm Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412869:9
| REAL | FAF1_FAN1_W133.RPM |  | B10PS FAF1 Fan VFD RPM Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412859 F
| REAL | FAF1_FAN1_W133.SPD |  | B10PS FAF1 Fan VFD Speed Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412859 F
| BOOL | FAF1_FAN1_W133.SPD_BTA |  | B10PS FAF1 Fan VFD Speed Feedback Broken Transmitter Alarm | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412861:1
| BOOL | FAF1_FAN1_W133.SPD_BTA_RST |  | B10PS FAF1 Fan VFD Speed Feedback Broken Transmitter Alarm Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412857:9
| BOOL | FAF1_FAN1_W133.START_PMP |  | B10PS FAF1 Fan Pump Stopped Too Long | [5 empty] | ---
| BOOL | FAF1_FAN1_W133.STPSTR |  | B10PS FAF1 Fan VFD Stop/Start | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:8
| BOOL | FAF1_FAN1_W133.STRSTP |  | B10PS FAF1 Fan VFD Start/Stop | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:7
| IOBOOL_00 | FAF1_FREE_COOLING_W133 |  | B10PS FAF1 Free Cooling
| BOOL | FAF1_FREE_COOLING_W133.Value |  | B10PS FAF1 Free Cooling | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:15
| IOBOOL_01 | FAF1_FREEZE_W133 |  | B10PS FAF1 Freeze
| BOOL | FAF1_FREEZE_W133.Value |  | B10PS FAF1 Freeze | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:2
| IOBOOL_01 | FAF1_FREEZEBTA_W133 |  | B10PS FAF1 Freeze initiated by BTAs
| BOOL | FAF1_FREEZEBTA_W133.Value |  | B10PS FAF1 Freeze initiated by BTAs | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412416:2
| IOBOOL_00 | FAF1_FREEZETT_W133 |  | B10PS FAF1 Freeze initiated by TTs 40deg
| BOOL | FAF1_FREEZETT_W133.Value |  | B10PS FAF1 Freeze initiated by TTs 40deg | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412416:3
| IOBOOL_00 | FAF1_FRZ_RESET_CMD_HMI_W133 |  | B10PS FAF1 Freeze Reset
| BOOL | FAF1_FRZ_RESET_CMD_HMI_W133.Value |  | B10PS FAF1 Freeze Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:16
| IOBOOL_00 | FAF1_TSL_W133 |  | B10PS FAF1 Freeze Stat
| BOOL | FAF1_TSL_W133.Value |  | B10PS FAF1 Freeze Stat | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:7
| IOBOOL_00 | FAF1_HILOAD_W133 |  | B10PS FAF1 HiLoad
| BOOL | FAF1_HILOAD_W133.Value |  | B10PS FAF1 HiLoad | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:13
| Wago_MSS | FAF1_HWPMP_W133 |  | B10PS FAF1 HW Pump
| BOOL | FAF1_HWPMP_W133.AUTO |  | B10PS FAF1 HW Pump Auto Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:5
| BOOL | FAF1_HWPMP_W133.AUX |  | B10PS FAF1 HW Pump Run Feedback | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:10
| BOOL | FAF1_HWPMP_W133.CMD |  | B10PS FAF1 HW Pump Run Command | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.413089:2
| BOOL | FAF1_HWPMP_W133.FTR |  | B10PS FAF1 HW Pump Fail to Run | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:3
| BOOL | FAF1_HWPMP_W133.FTS |  | B10PS FAF1 HW Pump Fail to Stop | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:4
| BOOL | FAF1_HWPMP_W133.MAN |  | B10PS FAF1 HW Pump Valve In Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:16
| BOOL | FAF1_HWPMP_W133.NIA |  | B10PS FAF1 HW Pump Not in Auto | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:5
| BOOL | FAF1_HWPMP_W133.OFF_CMD |  | B10PS FAF1 HW Pump Off Command | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:2
| BOOL | FAF1_HWPMP_W133.OL |  | B10PS FAF1 HW Pump Overload trip | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:6
| BOOL | FAF1_HWPMP_W133.ON_CMD |  | B10PS FAF1 HW Pump On Command | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:1
| Wago_VVD | FAF1_HWPMPBV_W133 |  | B10PS FAF1 HW Pump Bypass Valve
| BOOL | FAF1_HWPMPBV_W133.MAN |  | B10PS FAF1 HW Pump Bypass Valve In Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412683:1
| REAL | FAF1_HWPMPBV_W133.OUT |  | B10PS FAF1 HW Pump Bypass Valve Control Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412679 F
| REAL | FAF1_HWPMPBV_W133.PercentOpen |  | Contrl Value | [5 empty] | ---
| Wago_VVD | FAF1_HWTCV_W133 |  | B10PS FAF1 Preheat Temperature Control Valve
| BOOL | FAF1_HWTCV_W133.MAN |  | B10PS FAF1 Preheat Temperature Control Valve In Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412693:1
| REAL | FAF1_HWTCV_W133.OUT |  | B10PS FAF1 Preheat Temperature Control Valve Control Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412689 F
| REAL | FAF1_HWTCV_W133.PercentOpen |  | Contrl Value | [5 empty] | ---
| IOBOOL_00 | FAF1_LOWLOAD_W133 |  | B10PS FAF1 LowLoad
| BOOL | FAF1_LOWLOAD_W133.Value |  | B10PS FAF1 LowLoad | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:16
| AI_Limits_03 | FAF1_OAMT_W133 |  | B10PS FAF1 Outside Air Dewpoint Temperature
| BOOL | FAF1_OAMT_W133.BTA |  | B10PS FAF1 Outside Air Dewpoint Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412657:1
| BOOL | FAF1_OAMT_W133.IsDS |  | B10PS FAF1 Outside Air Dewpoint Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_OAMT_W133.PV |  | B10PS FAF1 Outside Air Dewpoint Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412655 F
| REAL | FAF1_OAMT_W133.PV_H_Alm |  | B10PS FAF1 Outside Air Dewpoint Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_OAMT_W133.PV_HH_Alm |  | B10PS FAF1 Outside Air Dewpoint Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_OAMT_W133.PV_L_Alm |  | B10PS FAF1 Outside Air Dewpoint Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_OAMT_W133.PV_LL_Alm |  | B10PS FAF1 Outside Air Dewpoint Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_OAMT_W133.Reset |  | B10PS FAF1 Outside Air Dewpoint Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412653:9
| AI_Limits_03 | FAF1_OATT_W133 |  | B10PS FAF1 Outside Air Temperature
| BOOL | FAF1_OATT_W133.BTA |  | B10PS FAF1 Outside Air Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412645:1
| BOOL | FAF1_OATT_W133.IsDS |  | B10PS FAF1 Outside Air Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_OATT_W133.PV |  | B10PS FAF1 Outside Air Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412643 F
| REAL | FAF1_OATT_W133.PV_H_Alm |  | B10PS FAF1 Outside Air Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_OATT_W133.PV_HH_Alm |  | B10PS FAF1 Outside Air Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_OATT_W133.PV_L_Alm |  | B10PS FAF1 Outside Air Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_OATT_W133.PV_LL_Alm |  | B10PS FAF1 Outside Air Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_OATT_W133.Reset |  | B10PS FAF1 Outside Air Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412641:9
| IOBOOL_00 | FAF1_ONLINE_W133 |  | B10PS FAF1 Online
| BOOL | FAF1_ONLINE_W133.Value |  | B10PS FAF1 Online | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:4
| AI_Limits_03 | FAF1_PFDP_W133 |  | B10PS FAF1 Supply Fan Filter
| BOOL | FAF1_PFDP_W133.BTA |  | B10PS FAF1 Supply Fan Filter BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412619:1
| BOOL | FAF1_PFDP_W133.IsDS |  | B10PS FAF1 Supply Fan Filter Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PFDP_W133.PV |  | B10PS FAF1 Supply Fan Filter PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412617 F
| REAL | FAF1_PFDP_W133.PV_H_Alm |  | B10PS FAF1 Supply Fan Filter PV Hi | [5 empty] | ---
| REAL | FAF1_PFDP_W133.PV_HH_Alm |  | B10PS FAF1 Supply Fan Filter PV HiHi | [5 empty] | ---
| REAL | FAF1_PFDP_W133.PV_L_Alm |  | B10PS FAF1 Supply Fan Filter PV Lo | [5 empty] | ---
| REAL | FAF1_PFDP_W133.PV_LL_Alm |  | B10PS FAF1 Supply Fan Filter PV LoLo | [5 empty] | ---
| BOOL | FAF1_PFDP_W133.Reset |  | B10PS FAF1 Supply Fan Filter BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412615:9
| AI_Limits_03 | FAF1_PHDTT_W133 |  | B10PS FAF1 Preheat Discharge Air Temperature
| BOOL | FAF1_PHDTT_W133.BTA |  | B10PS FAF1 Preheat Discharge Air Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412523:1
| BOOL | FAF1_PHDTT_W133.IsDS |  | B10PS FAF1 Preheat Discharge Air Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PHDTT_W133.PV |  | B10PS FAF1 Preheat Discharge Air Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412521 F
| REAL | FAF1_PHDTT_W133.PV_H_Alm |  | B10PS FAF1 Preheat Discharge Air Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_PHDTT_W133.PV_HH_Alm |  | B10PS FAF1 Preheat Discharge Air Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_PHDTT_W133.PV_L_Alm |  | B10PS FAF1 Preheat Discharge Air Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_PHDTT_W133.PV_LL_Alm |  | B10PS FAF1 Preheat Discharge Air Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_PHDTT_W133.Reset |  | B10PS FAF1 Preheat Discharge Air Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412519:9
| AI_Limits_03 | FAF1_PHRTT_W133 |  | B10PS FAF1 Preheat Return Water Temperature
| BOOL | FAF1_PHRTT_W133.BTA |  | B10PS FAF1 Preheat Return Water Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412499:1
| BOOL | FAF1_PHRTT_W133.IsDS |  | B10PS FAF1 Preheat Return Water Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PHRTT_W133.PV |  | B10PS FAF1 Preheat Return Water Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412497 F
| REAL | FAF1_PHRTT_W133.PV_H_Alm |  | B10PS FAF1 Preheat Return Water Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_PHRTT_W133.PV_HH_Alm |  | B10PS FAF1 Preheat Return Water Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_PHRTT_W133.PV_L_Alm |  | B10PS FAF1 Preheat Return Water Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_PHRTT_W133.PV_LL_Alm |  | B10PS FAF1 Preheat Return Water Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_PHRTT_W133.Reset |  | B10PS FAF1 Preheat Return Water Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412495:9
| AI_Limits_03 | FAF1_PHSTT_W133 |  | B10PS FAF1 Preheat Supply Water Temperature
| BOOL | FAF1_PHSTT_W133.BTA |  | B10PS FAF1 Preheat Supply Water Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412511:1
| BOOL | FAF1_PHSTT_W133.IsDS |  | B10PS FAF1 Preheat Supply Water Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PHSTT_W133.PV |  | B10PS FAF1 Preheat Supply Water Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412509 F
| REAL | FAF1_PHSTT_W133.PV_H_Alm |  | B10PS FAF1 Preheat Supply Water Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_PHSTT_W133.PV_HH_Alm |  | B10PS FAF1 Preheat Supply Water Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_PHSTT_W133.PV_L_Alm |  | B10PS FAF1 Preheat Supply Water Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_PHSTT_W133.PV_LL_Alm |  | B10PS FAF1 Preheat Supply Water Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_PHSTT_W133.Reset |  | B10PS FAF1 Preheat Supply Water Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412507:9
| Wago_Loop | FAF1_PREHEAT_W133 |  | B10PS FAF1 Preheat Loop
| BOOL | FAF1_PREHEAT_W133.CA |  | B10PS FAF1 Preheat Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412808:9
| BOOL | FAF1_PREHEAT_W133.CL |  | B10PS FAF1 Preheat Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412808:1
| REAL | FAF1_PREHEAT_W133.CL_SP |  | B10PS FAF1 Preheat Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412805 F
| REAL | FAF1_PREHEAT_W133.KD |  | B10PS FAF1 Preheat Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412803 F
| REAL | FAF1_PREHEAT_W133.KI |  | B10PS FAF1 Preheat Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412801 F
| REAL | FAF1_PREHEAT_W133.KP |  | B10PS FAF1 Preheat Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412799 F
| BOOL | FAF1_PREHEAT_W133.MO |  | B10PS FAF1 Preheat Loop Auto/Man Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412807:1
| REAL | FAF1_PREHEAT_W133.OUT |  | B10PS FAF1 Preheat Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412793 F
| REAL | FAF1_PREHEAT_W133.PV |  | B10PS FAF1 Preheat Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412789 F
| REAL | FAF1_PREHEAT_W133.SO |  | B10PS FAF1 Preheat Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412797 F
| REAL | FAF1_PREHEAT_W133.SP |  | B10PS FAF1 Preheat Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412791 F
| BOOL | FAF1_PREHEAT_W133. SWM |  | B10PS FAF1 Preheat Loop Software Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412807:9
| REAL | FAF1_PREHEAT_W133.TIE |  | B10PS FAF1 Preheat Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412795 F
| AI_Limits_03 | FAF1_PS_DP1_W133 |  | B10PS FAF1 Pipe Space Dew Point
| BOOL | FAF1_PS_DP1_W133.BTA |  | B10PS FAF1 Pipe Space Dew Point BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412309:1
| BOOL | FAF1_PS_DP1_W133.IsDS |  | B10PS FAF1 Pipe Space Dew Point Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PS_DP1_W133.PV |  | B10PS FAF1 Pipe Space Dew Point PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412315 F
| REAL | FAF1_PS_DP1_W133.PV_H_Alm |  | B10PS FAF1 Pipe Space Dew Point PV Hi | [5 empty] | ---
| REAL | FAF1_PS_DP1_W133.PV_HH_Alm |  | B10PS FAF1 Pipe Space Dew Point PV HiHi | [5 empty] | ---
| REAL | FAF1_PS_DP1_W133.PV_L_Alm |  | B10PS FAF1 Pipe Space Dew Point PV Lo | [5 empty] | ---
| REAL | FAF1_PS_DP1_W133.PV_LL_Alm |  | B10PS FAF1 Pipe Space Dew Point PV LoLo | [5 empty] | ---
| BOOL | FAF1_PS_DP1_W133.Reset |  | B10PS FAF1 Pipe Space Dew Point BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412309:9
| IOBOOL_00 | FAF1_PS_FOG_FAULT_W133 |  | B10PS FAF 1 Meefog Panel Fault
| BOOL | FAF1_PS_FOG_FAULT_W133.Value |  | B10PS FAF 1 Meefog Panel Fault | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412339:9
| IOBOOL_00 | FAF1_PS_FOG_ON_TO_METASYS |  | B10PS FAF1 Fog System On Signal to MetaSys
| BOOL | FAF1_PS_FOG_ON_TO_METASYS.Value |  | B10PS FAF1 Fog System On Signal to MetaSys | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412359:1
| AI_Limits_03 | FAF1_PS_FOG_PT_W133 |  | B10PS FAF1 Pipe Space Fog
| BOOL | FAF1_PS_FOG_PT_W133.BTA |  | B10PS FAF1 Pipe Space Fog BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412341:1
| BOOL | FAF1_PS_FOG_PT_W133.IsDS |  | B10PS FAF1 Pipe Space Fog Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PS_FOG_PT_W133.PV |  | B10PS FAF1 Pipe Space Fog PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412347 F
| REAL | FAF1_PS_FOG_PT_W133.PV_H_Alm |  | B10PS FAF1 Pipe Space Fog PV Hi | [5 empty] | ---
| REAL | FAF1_PS_FOG_PT_W133.PV_HH_Alm |  | B10PS FAF1 Pipe Space Fog PV HiHi | [5 empty] | ---
| REAL | FAF1_PS_FOG_PT_W133.PV_L_Alm |  | B10PS FAF1 Pipe Space Fog PV Lo | [5 empty] | ---
| REAL | FAF1_PS_FOG_PT_W133.PV_LL_Alm |  | B10PS FAF1 Pipe Space Fog PV LoLo | [5 empty] | ---
| BOOL | FAF1_PS_FOG_PT_W133.Reset |  | B10PS FAF1 Pipe Space Fog BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412341:9
| IOFLOAT_00 | FAF1_PS_FOG_RTM_AFT_O_W133 |  | Write C.M. to Change Oil On Meefog #1
| REAL | FAF1_PS_FOG_RTM_AFT_O_W133.Value |  | Write C.M. to Change Oil On Meefog #1 | [5 empty] | FAF1_PS_FOG_RTM_AFT_O_W133.PV_Calc
| IOBOOL_00 | FAF1_PS_FOG_RTM_ALM_RST_I_W133 |  | Description
| BOOL | FAF1_PS_FOG_RTM_ALM_RST_I_W133.Value |  | Description Value
| IOFLOAT_00 | FAF1_PS_FOG_RUNTIME_CUM_W133 |  | B10PS FAF1 Fog System Cummulative Run Time
| REAL | FAF1_PS_FOG_RUNTIME_CUM_W133.Value |  | B10PS FAF1 Fog System Cummulative Run Time | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412355
| IOFLOAT_00 | FAF1_PS_FOG_RUNTIME_W133 |  | B10PS FAF1 Pipe Space Fog System Run Time
| REAL | FAF1_PS_FOG_RUNTIME_W133.Value |  | B10PS FAF1 Pipe Space Fog System Run Time | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412353
| IOBOOL_00 | FAF1_PS_FOG_SOL1 |  | B10PS FAF1 Pipe Space Fogger Solenoid_1
| BOOL | FAF1_PS_FOG_SOL1.Value |  | B10PS FAF1 Pipe Space Fogger Solenoid_1 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412337:1
| IOBOOL_00 | FAF1_PS_FOG_SOL2 |  | B10PS FAF1 Pipe Space Fogger Solenoid_2
| BOOL | FAF1_PS_FOG_SOL2.Value |  | B10PS FAF1 Pipe Space Fogger Solenoid_2 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412337:9
| IOBOOL_00 | FAF1_PS_FOG_SOL3 |  | B10PS FAF1 Pipe Space Fogger Solenoid_3
| BOOL | FAF1_PS_FOG_SOL3.Value |  | B10PS FAF1 Pipe Space Fogger Solenoid_3 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412338:1
| IOBOOL_00 | FAF1_PS_FOG_SOL4 |  | B10PS FAF1 Pipe Space Fogger Solenoid_4
| BOOL | FAF1_PS_FOG_SOL4.Value |  | B10PS FAF1 Pipe Space Fogger Solenoid_4 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412338:9
| IOFLOAT_00 | FAF1_PS_HUMIDITY_P_OUT_W133 |  | B10PS FAF1 Humidity Loop Output
| REAL | FAF1_PS_HUMIDITY_P_OUT_W133.Value |  | B10PS FAF1 Humidity Loop Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412321 F
| Wago_Loop | FAF1_PS_HUMIDITY_W133 |  | B10PS FAF1 Humidity Loop
| BOOL | FAF1_PS_HUMIDITY_W133.CA |  | B10PS FAF1 Humidity Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412336:9
| BOOL | FAF1_PS_HUMIDITY_W133.CL |  | B10PS FAF1 Humidity Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412336:1
| REAL | FAF1_PS_HUMIDITY_W133.CL_SP |  | B10PS FAF1 Humidity Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412333 F
| REAL | FAF1_PS_HUMIDITY_W133.KD |  | B10PS FAF1 Humidity Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412331 F
| REAL | FAF1_PS_HUMIDITY_W133.KI |  | B10PS FAF1 Humidity Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412329 F
| REAL | FAF1_PS_HUMIDITY_W133.KP |  | B10PS FAF1 Humidity Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412327 F
| BOOL | FAF1_PS_HUMIDITY_W133.MO |  | B10PS FAF1 Humidity Loop Auto/Man Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412335:1
| REAL | FAF1_PS_HUMIDITY_W133.OUT |  | B10PS FAF1 Humidity Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412321 F
| REAL | FAF1_PS_HUMIDITY_W133.PV |  | B10PS FAF1 Humidity Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412317 F
| REAL | FAF1_PS_HUMIDITY_W133.SO |  | B10PS FAF1 Humidity Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412325 F
| REAL | FAF1_PS_HUMIDITY_W133.SP |  | B10PS FAF1 Humidity Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412319 F
| BOOL | FAF1_PS_HUMIDITY_W133.SWM |  | B10PS FAF1 Humidity Loop Software Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412335:9
| REAL | FAF1_PS_HUMIDITY_W133.TIE |  | B10PS FAF1 Humidity Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412323 F
| IOBOOL_00 | FAF1_PS_SUP_AIR_PS_W133 |  | B10PS FAF1 PipeSpace SupplyAir Pressure Switch
| BOOL | FAF1_PS_SUP_AIR_PS_W133.Value |  | B10PS FAF1 PipeSpace SupplyAir Pressure Switch | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412339:1
| AI_Limits_03 | FAF1_PS_TT1_W133 |  | B10PS FAF1 Pipe Space Temperature
| BOOL | FAF1_PS_TT1_W133.BTA |  | B10PS FAF1 Pipe Space Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412301:1
| BOOL | FAF1_PS_TT1_W133.IsDS |  | B10PS FAF1 Pipe Space Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_PS_TT1_W133.PV |  | B10PS FAF1 Pipe Space Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412307 F
| REAL | FAF1_PS_TT1_W133.PV_H_Alm |  | B10PS FAF1 Pipe Space Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_PS_TT1_W133.PV_HH_Alm |  | B10PS FAF1 Pipe Space Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_PS_TT1_W133.PV_L_Alm |  | B10PS FAF1 Pipe Space Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_PS_TT1_W133.PV_LL_Alm |  | B10PS FAF1 Pipe Space Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_PS_TT1_W133.Reset |  | B10PS FAF1 Pipe Space Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412301:9
| AI_Limits_03 | FAF1_RARTT_W133 |  | B10PS FAF1 Reclaim Water Return Temperature
| BOOL | FAF1_RARTT_W133.BTA |  | B10PS FAF1 Reclaim Water Return Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412571:1
| BOOL | FAF1_RARTT_W133.IsDS |  | B10PS FAF1 Reclaim Water Return Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_RARTT_W133.PV |  | B10PS FAF1 Reclaim Water Return Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412569 F
| REAL | FAF1_RARTT_W133.PV_H_Alm |  | B10PS FAF1 Reclaim Water Return Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_RARTT_W133.PV_HH_Alm |  | B10PS FAF1 Reclaim Water Return Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_RARTT_W133.PV_L_Alm |  | B10PS FAF1 Reclaim Water Return Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_RARTT_W133.PV_LL_Alm |  | B10PS FAF1 Reclaim Water Return Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_RARTT_W133.Reset |  | B10PS FAF1 Reclaim Water Return Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412567:9
| Wago_VDD | FAF1_RBV1_W133 |  | B10PS FAF 1 Reclaim Bypass Valve 1
| BOOL | FAF1_RBV1_W133.AOPEN |  | B10PS FAF 1 Reclaim Bypass Valve 1 Open from PLC | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412713:1
| BOOL | FAF1_RBV1_W133.AUTO |  | B10PS FAF 1 Reclaim Bypass Valve 1 AUTO | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412713:9
| BOOL | FAF1_RBV1_W133.CLSD |  | B10PS FAF 1 Reclaim Bypass Valve 1 CLSD | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412709:9
| BOOL | FAF1_RBV1_W133.FAULT |  | B10PS FAF 1 Reclaim Bypass Valve 1 Fault | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412711:9
| BOOL | FAF1_RBV1_W133.FTC |  | B10PS FAF 1 Reclaim Bypass Valve 1 Fail to Close | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412711:1
| BOOL | FAF1_RBV1_W133.FTO |  | B10PS FAF 1 Reclaim Bypass Valve 1 Fail to Open | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412710:9
| BOOL | FAF1_RBV1_W133.MOPEN |  | B10PS FAF 1 Reclaim Bypass Valve 1 Man Open CMD | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412712:9
| BOOL | FAF1_RBV1_W133.NRDY |  | B10PS FAF 1 Reclaim Bypass Valve 1 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412712:1
| BOOL | FAF1_RBV1_W133.OPND |  | B10PS FAF 1 Reclaim Bypass Valve 1 OPND | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412709:1
| REAL | FAF1_RBV1_W133.STAT |  | B10PS FAF 1 Reclaim Bypass Valve 1 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412714 F
| BOOL | FAF1_RBV1_W133.TRVL |  | B10PS FAF 1 Reclaim Bypass Valve 1 Travel | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412710:1
| Wago_VDD | FAF1_RBV2_W133 |  | B10PS FAF 1 Reclaim Bypass Valve 2
| BOOL | FAF1_RBV2_W133.AOPEN |  | B10PS FAF 1 Reclaim Bypass Valve 2 Open from PLC | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412835:1
| BOOL | FAF1_RBV2_W133.AUTO |  | B10PS FAF 1 Reclaim Bypass Valve 2 AUTO | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412835:9
| BOOL | FAF1_RBV2_W133.CLSD |  | B10PS FAF 1 Reclaim Bypass Valve 2 CLSD | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412831:9
| BOOL | FAF1_RBV2_W133.FAULT |  | B10PS FAF 1 Reclaim Bypass Valve 2 Fault | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412833:9
| BOOL | FAF1_RBV2_W133.FTC |  | B10PS FAF 1 Reclaim Bypass Valve 2 Fail to Close | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412833:1
| BOOL | FAF1_RBV2_W133.FTO |  | B10PS FAF 1 Reclaim Bypass Valve 2 Fail to Open | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412832:9
| BOOL | FAF1_RBV2_W133.MOPEN |  | B10PS FAF 1 Reclaim Bypass Valve 2 Man Open CMD | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412834:9
| BOOL | FAF1_RBV2_W133.NRDY |  | B10PS FAF 1 Reclaim Bypass Valve 2 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412834:1
| BOOL | FAF1_RBV2_W133.OPND |  | B10PS FAF 1 Reclaim Bypass Valve 2 OPND | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412831:1
| REAL | FAF1_RBV2_W133.STAT |  | B10PS FAF 1 Reclaim Bypass Valve 2 | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412836 F
| BOOL | FAF1_RBV2_W133.TRVL |  | B10PS FAF 1 Reclaim Bypass Valve 2 Travel | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412832:1
| AI_Limits_03 | FAF1_RHRTT_W133 |  | B10PS FAF1 Reheat Coil Water Return Temperature
| BOOL | FAF1_RHRTT_W133.BTA |  | B10PS FAF1 Reheat Coil Water Return Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412583:1
| BOOL | FAF1_RHRTT_W133.IsDS |  | B10PS FAF1 Reheat Coil Water Return Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_RHRTT_W133.PV |  | B10PS FAF1 Reheat Coil Water Return Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412581 F
| REAL | FAF1_RHRTT_W133.PV_H_Alm |  | B10PS FAF1 Reheat Coil Water Return Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_RHRTT_W133.PV_HH_Alm |  | B10PS FAF1 Reheat Coil Water Return Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_RHRTT_W133.PV_L_Alm |  | B10PS FAF1 Reheat Coil Water Return Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_RHRTT_W133.PV_LL_Alm |  | B10PS FAF1 Reheat Coil Water Return Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_RHRTT_W133.Reset |  | B10PS FAF1 Reheat Coil Water Return Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412579:9
| AI_Limits_03 | FAF1_RHSTT_W133 |  | B10PS FAF1 Reheat Coil Water Supply Temperature
| BOOL | FAF1_RHSTT_W133.BTA |  | B10PS FAF1 Reheat Coil Water Supply Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412595:1
| BOOL | FAF1_RHSTT_W133.IsDS |  | B10PS FAF1 Reheat Coil Water Supply Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_RHSTT_W133.PV |  | B10PS FAF1 Reheat Coil Water Supply Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412593 F
| REAL | FAF1_RHSTT_W133.PV_H_Alm |  | B10PS FAF1 Reheat Coil Water Supply Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_RHSTT_W133.PV_HH_Alm |  | B10PS FAF1 Reheat Coil Water Supply Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_RHSTT_W133.PV_L_Alm |  | B10PS FAF1 Reheat Coil Water Supply Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_RHSTT_W133.PV_LL_Alm |  | B10PS FAF1 Reheat Coil Water Supply Temperature PV LoLo | [5 empty] | ---
| BOOL | FAF1_RHSTT_W133.Reset |  | B10PS FAF1 Reheat Coil Water Supply Temperature BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412591:9
FAF1_HWPMP_OAT_SP_W133
| Wago_Loop | FAF1_RHT_W133 |  | B10PS FAF 1 Reheat Loop
| BOOL | FAF1_RHT_W133.CA |  | B10PS FAF 1 Reheat Loop Control Action | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412828:9
| BOOL | FAF1_RHT_W133.CL |  | B10PS FAF 1 Reheat Loop Cascade | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412828:1
| REAL | FAF1_RHT_W133.CL_SP |  | B10PS FAF 1 Reheat Loop Cascaded Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412825 F
| REAL | FAF1_RHT_W133.KD |  | B10PS FAF 1 Reheat Loop Derivative | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412823 F
| REAL | FAF1_RHT_W133.KI |  | B10PS FAF 1 Reheat Loop Integral | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412821 F
| REAL | FAF1_RHT_W133.KP |  | B10PS FAF 1 Reheat Loop Proportional | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412819 F
| BOOL | FAF1_RHT_W133.MO |  | B10PS FAF 1 Reheat Loop Auto/Man Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412827:1
| REAL | FAF1_RHT_W133.OUT |  | B10PS FAF 1 Reheat Loop Output Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412813 F
| REAL | FAF1_RHT_W133.PV |  | B10PS FAF 1 Reheat Loop Process Variable | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412809 F
| REAL | FAF1_RHT_W133.SO |  | B10PS FAF 1 Reheat Loop Set Output | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412817 F
| REAL | FAF1_RHT_W133.SP |  | B10PS FAF 1 Reheat Loop Setpoint | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412811 F
| BOOL | FAF1_RHT_W133.SWM |  | B10PS FAF 1 Reheat Loop Software Manual Mode | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412827:9
| REAL | FAF1_RHT_W133.TIE |  | B10PS FAF 1 Reheat Loop Tieback Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412815 F
| Wago_VVD | FAF1_RHTCV_W133 |  | B10PS FAF1 Reheat Temperature Control Valve
| BOOL | FAF1_RHTCV_W133.MAN |  | B10PS FAF1 Reheat Temperature Control Valve In Man | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412703:1
| REAL | FAF1_RHTCV_W133.OUT |  | B10PS FAF1 Reheat Temperature Control Valve Control Value | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412699 F
| REAL | FAF1_RHTCV_W133.PercentOpen |  | Contrl Value | [5 empty] | ---
| AI_Limits_03 | FAF1_SATT_W133 |  | B10PS FAF1 Supply Air Temperature Transmitter
| BOOL | FAF1_SATT_W133.BTA |  | B10PS FAF1 Supply Air Temperature Transmitter BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412607:1
| BOOL | FAF1_SATT_W133.IsDS |  | B10PS FAF1 Supply Air Temperature Transmitter Alarm Disabled | [5 empty] | ---
| REAL | FAF1_SATT_W133.PV |  | B10PS FAF1 Supply Air Temperature Transmitter PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412605 F
| REAL | FAF1_SATT_W133.PV_H_Alm |  | B10PS FAF1 Supply Air Temperature Transmitter PV Hi | [5 empty] | ---
| REAL | FAF1_SATT_W133.PV_HH_Alm |  | B10PS FAF1 Supply Air Temperature Transmitter PV HiHi | [5 empty] | ---
| REAL | FAF1_SATT_W133.PV_L_Alm |  | B10PS FAF1 Supply Air Temperature Transmitter PV Lo | [5 empty] | ---
| REAL | FAF1_SATT_W133.PV_LL_Alm |  | B10PS FAF1 Supply Air Temperature Transmitter PV LoLo | [5 empty] | ---
| BOOL | FAF1_SATT_W133.Reset |  | B10PS FAF1 Supply Air Temperature Transmitter BTA Reset | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412603:9
| IOBOOL_00 | FAF1_TEMP_CONTROL_W133 |  | B10PS FAF1 Temperature Control
| BOOL | FAF1_TEMP_CONTROL_W133.Value |  | B10PS FAF1 Temperature Control | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412414:14
| IOBOOL_00 | FAF1_TRANSITION_W133 |  | B10PS FAF1 Transition
| BOOL | FAF1_TRANSITION_W133.Value |  | B10PS FAF1 Transition | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:1
| AI_Limits_04 | FAF1_WETBULB_W133 |  | B10PS FAF1 Wetbulb Temperature
| BOOL | FAF1_WETBULB_W133.BTA |  | B10PS FAF1 Wetbulb Temperature BTA | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412415:13
| BOOL | FAF1_WETBULB_W133.IsDS |  | B10PS FAF1 Wetbulb Temperature Alarm Disabled | [5 empty] | ---
| REAL | FAF1_WETBULB_W133.PV |  | B10PS FAF1 Wetbulb Temperature PV | [5 empty] | PLCW133.4000ms.ModbusNetwork.W133.412829 F
| REAL | FAF1_WETBULB_W133.PV_H_Alm |  | B10PS FAF1 Wetbulb Temperature PV Hi | [5 empty] | ---
| REAL | FAF1_WETBULB_W133.PV_HH_Alm |  | B10PS FAF1 Wetbulb Temperature PV HiHi | [5 empty] | ---
| REAL | FAF1_WETBULB_W133.PV_L_Alm |  | B10PS FAF1 Wetbulb Temperature PV Lo | [5 empty] | ---
| REAL | FAF1_WETBULB_W133.PV_LL_Alm |  | B10PS FAF1 Wetbulb Temperature PV LoLo | [5 empty] | ---
405
Pivot Table Update
Pivot Table Update

## Sheet5
0

## Sheet4
0